Recommended training for Polyozone users’ training.

- Attach hazard assessment cert in this packet.  Go over the stated PPE requirements with user.

- Walk through all operations/procedures for the Polyozone start-up, use, and shut-down.

- Require reading of the precautions, Safety Card, MSDS, and OSU accident.

- Get user’s signature in training log, trainer also sign training log.

- Devise a way to enforce the rules.

Oxygen and Ozone precautions

- Oxygen can be harmful at high concentrations. Breathing high concentrations of O2 (greater than 75M%) causes symptoms of hyperoxia which include cramps, nausea, dizziness, hyperthermia, ambylopia, respiratory difficulties, bradycardia, fainting spells and convulsions capable of leading to death. First Aid - Fresh Air.

- High concentrations of oxygen increase the risk of explosion and fire. Compounds normally not flammable at low (room) temperatures will react much more readily with O2 under pressure - oxygen is a high pressure oxidising gas which vigorously supports combustion (contact with other material may cause fire).

- Ozone is harmful and toxic.

- Ozonolysis produces highly reactive ozonides and peroxides which may be shock-sensitive explosives.

Reference to recorded hazards - Bretherick’s Handbook of Reactive Chemical Hazards available from the Kenner Library.

From http://www.chemistry.ohio-state.edu/Catalyst/012697.htmlhttp://www.chemistry.ohio-state.edu/Catalyst/011997.html  on 3/17/2003

LEARNING FROM RECENT ACCIDENTS

This report is from the Safety Committee in the Chemistry Department:

Explosion Results from the Distillation of Ozonolysis Products

What Happened:

A Graduate Student was distilling a mixture of dichloromethane and crude material from an ozonolysis of Allyl Bromide, which he mistakenly thought was Bromoacetaldehyde. Unknown to the student, he was trying to distill a mixture of peroxides (that result from the ozonolysis). An explosion occurred when the temperature reached 50 degrees Centigrade.

The explosion destroyed the heating mantel and the ceramic top of the stirrer/hot-plate. The ceramic top fragmented and sent shards into the face, chest, shoulders, and hands of the student. Fortunately, the student was wearing safety glasses: one shard hit the left lens with such force that it shattered (but remained within the frame). Without the safety glasses, the student would have lost an eye.

The student was taken to OSU Emergency (by Columbus paramedics) to receive first-aid and was released. He missed one day of work.

What can be done to prevent this from occurring again?

1) When setting up an experiment, such as a distillation, thoroughly investigate the properties of materials involved. If you are unsure, ASK!

2) When working in the fume hood, keep the sash as far down as possible at all times. If you have to lift the sash to make an adjustment, use a safety shield (as appropriate) and/or use a face shield (in addition to your safety glasses). Face shields are available (free of charge) from the Safety Office.

# International Chemical Safety Cards OZONE ICSC: 0068 OZONE (cylinder) O3 Molecular mass: 48.0 CAS # 10028-15-6 RTECS # RS8225000 ICSC # 0068 TYPES OF HAZARD/ EXPOSURE ACUTE HAZARDS/ SYMPTOMS PREVENTION FIRST AID/ FIRE FIGHTING FIRE Not combustible but enhances combustion of other substances. Many reactions may cause fire or explosion. NO open flames, NO sparks, and NO smoking. NO contact with combustible substances. In case of fire in the surroundings: all extinguishing agents allowed. EXPLOSION Risk of fire and explosion when heated or on contact with combustible substances (alkene, ethers). Closed system, ventilation, explosion-proof electrical equipment and lighting. In case of fire: keep cylinder cool by spraying with water. Combat fire from a sheltered position. EXPOSURE STRICT HYGIENE!  INHALATION Cough. Headache. Shortness of breath. Sore throat. Ventilation, local exhaust, or breathing protection. Fresh air, rest. Half-upright position. Artificial respiration if indicated. Refer for medical attention.  SKIN ON CONTACT WITH LIQUID: FROSTBITE. Cold-insulating gloves. ON FROSTBITE: rinse with plenty of water, do NOT remove clothes. Refer for medical attention.  EYES Redness. Pain. Loss of vision. Face shield or eye protection in combination with breathing protection. First rinse with plenty of water for several minutes (remove contact lenses if easily possible), then take to a doctor.  INGESTION SPILLAGE DISPOSAL STORAGE PACKAGING & LABELLING Evacuate danger area! Consult an expert! Ventilation. If in liquid state: NEVER direct water jet on liquid (extra personal protection: self-contained breathing apparatus). Fireproof if in building. Separated from all substances. Cool. Ozone is frequently stored refrigerated in halons. SEE IMPORTANT INFORMATION ON BACK ICSC: 0068 Prepared in the context of cooperation between the International Programme on Chemical Safety & the Commission of the European Communities © IPCS CEC 1993

# International Chemical Safety Cards OZONE ICSC: 0068 I M P O R T A N T D A T A PHYSICAL STATE; APPEARANCE: COLOURLESS OR BLUISH GAS , WITH CHARACTERISTIC ODOUR. PHYSICAL DANGERS: The gas is heavier than air. CHEMICAL DANGERS: The substance decomposes on warming producing oxygen , which increases fire hazard. The substance is a strong oxidant and reacts violently with combustible and reducing materials. Reacts with alkenes, aromatics, such as aniline, and ethers, bromine, nitrogen compounds and rubber producing shock-sensitive compounds. Attacks metals except gold and platinum. OCCUPATIONAL EXPOSURE LIMITS (OELs): TLV: 0.1 ppm; 0.20 mg/m3 as Ceiling (ACGIH 1991-1992). ROUTES OF EXPOSURE: The substance can be absorbed into the body by inhalation. INHALATION RISK: A harmful concentration of this gas in the air will be reached very quickly on loss of containment. EFFECTS OF SHORT-TERM EXPOSURE: The substance irritates the eyes and the respiratory tract. Inhalation of the gas may cause lung oedema (see Notes). Inhalation of the gas may cause asthmatic reactions (see Notes). The liquid may cause frostbite. The substance may cause effects on the central nervous system , resulting in headache and impaired vigilance and performance. EFFECTS OF LONG-TERM OR REPEATED EXPOSURE: Lungs may be affected by repeated or prolonged exposure to the gas. PHYSICAL PROPERTIES Boiling point: -112°C Melting point: -193°C Solubility in water, g/100 ml at 0°C: 0.1 Relative vapour density (air = 1): 1.6 ENVIRONMENTAL DATA This substance may be hazardous to the environment; special attention should be given to vegetation. N O T E S The symptoms of lung oedema often do not become manifest until a few hours have passed and they are aggravated by physical effort. Rest and medical observation are therefore essential. Immediate administration of an appropriate spray, by a doctor or a person authorized by him/her, should be considered. The symptoms of asthma often do not become manifest until a few hours have passed and they are aggravated by physical effort. Rest and medical observation are therefore essential. Anyone who has shown symptoms of asthma due to this substance should avoid all further contact with this substance. Turn leaking cylinder with the leak up to prevent escape of gas in liquid state. ADDITIONAL INFORMATION ICSC: 0068 OZONE © IPCS, CEC, 1993

IMPORTANT LEGAL NOTICE: Neither the CEC or the IPCS nor any person acting on behalf of the CEC or the IPCS is responsible for the use which might be made of this information. This card contains the collective views of the IPCS Peer Review Committee and may not reflect in all cases all the detailed requirements included in national legislation on the subject. The user should verify compliance of the cards with the relevant legislation in the country of use.

## MATERIAL SAFETY DATA SHEET

#### Effective Date: 06/01/00

#### Product: Ozone

## 1. Product Identification

Synonyms: Triatomic oxygen 
CAS No.: 10028-15-6
Molecular Weight: 48.0 
Chemical Formula: O3

## 2. Composition/Information on Ingredients

Ingredient                         CAS No         Percent   Hazardous

--------------------------------   ------------   -------   ---------

Ozone gas                           10028-15-6    1 - 15%    Yes

## 3. Hazards Identification

Emergency Overview  Highly reactive, can explode on contact with organic substances, especially strong reducing agents.

Ozone is a powerful oxidizing agent and oxidation with ozone evolves more heat and usually starts at a lower temperature than oxidation with oxygen. It reacts with non-saturated organic compounds to produce ozonides, which are unstable and may decompose with explosive violence. Ozone is an unstable gas which, at normal temperatures, decomposes to biatomic oxygen. At elevated temperatures and in the presence of certain catalysts such as hydrogen, iron, copper and chromium, this decomposition may be explosive.

Potential Health Effects 
---------------------------------- 
Inhalation: Causes dryness of the mouth, coughing, and irritates the nose, throat, and chest. May cause difficulty in breathing, headache, and fatigue. The characteristic sharp, irritating odor is readily detectable at low concentrations (0.01 to 0.05 ppm).

Skin: Absorption through intact skin is not expected.

Eye Contact: Ozone is an irritant to the eyes causing pain, lacrimation, and general inflammation.

Ingestion: Not a route of exposure.
Aggravation of Pre-existing Conditions: 
Ozone may increase sensitivity to bronchoconstrictors including allergens.

## 4. First Aid Measures

Inhalation:  Remove to fresh air; if breathing is difficult a trained person should administer oxygen. If respiration stops, give mouth-to-mouth resuscitation. Get medical attention.

Ingestion:  Not an expected route of exposure.

Skin Contact:  Wash skin thoroughly with soap and water.

Eye Contact:  Immediately flush eyes with large amounts of water for at least 15 minutes, while forcibly holding eyelids apart to ensure flushing of the entire eye surface. If irritation, pain, or other symptoms persist seek medical attention.

Acute:  May cause irritation of skin, eyes, and mucous membranes of the respiratory tract. Drowsiness, dizziness, headache, and fatigue have been associated with exposure.

Chronic:  Long term health effects are not expected from exposures to ozone. A partial tolerance appears to develop with repeated exposures.

## 5. Fire Fighting Measures

Flash Point: 
N/D

Auto ignition Temperature: 
N/D

Flammable Limits in air, % by volume - Upper: N/D Lower: N/D

Extinguishing Media: 
Use extinguishing media suitable for surrounding fires.

Unusual Fire and Explosion Hazard: None expected. Since ozone is highly unstable and decomposes under all conditions and is not encountered except at very small levels in the immediate vicinity where formed.

## 6. Accidental Release Measures

Evacuate danger area. Consult an expert. Ventilation. If ozone is a liquid or solid, allow material to evaporate and provide sufficient ventilation to dilute and disperse small amounts into the outside atmosphere. Dispose of waste in accordance with Federal, State, and local regulations. Reportable quantity = 1 pound.

## 7. Handling and Storage

Unstable gas (liquid or solid phases are even more unstable). Ozone should be contained within a chemically compatible piping system.

Ozone is a powerful oxidizing agent and oxidation with ozone evolves more heat and usually starts at a lower temperature than oxidation with oxygen. It reacts with non-saturated organic compounds to produce ozonides, which are unstable and may decompose with explosive violence. Ozone is an unstable gas which, at normal temperatures, decomposes to biatomic oxygen. At elevated temperatures and in the presence of certain catalysts such as hydrogen, iron, copper and chromium, this decomposition may be explosive.

## 8. Exposure Controls/Personal Protection

Exposure Guidelines:
OSHA PEL: 
0.1 ppm PEL/TLV

Ventilation Requirements: 
General exhaust recommended. Avoid working with ozone generating equipment in enclosed spaces.

Specific Personal Protective Equipment

Respiratory: 
   Respirators may be used when engineering and work practice controls are not technically feasible, when such controls are in the process of being installed, or when they fail and need to be supplemented. Respirators may also be used for operations which require entry into tanks or closed vessels, and in emergency situations.

Only appropriate respirators shall be provided and used when the use of respirators is the only means of controlling exposure for routine operations, or during an emergency. (Refer to Table 1 of ANSUI/ASTM E591-77 for appropriate respirator selection ).

Positive pressure air line with mask or self-contained breathing apparatus should be available for emergency use.

Eye:  Not necessary

Gloves:  Not necessary.

Other Clothing and Equipment:  Not necessary.

## 9. Physical and Chemical Properties

Appearance:  Black particulate solid, pellet, or powder. 
Specific Gravity (H 2 O=1):  2.144 g/L

Molecular Weight:  48.00

Boiling Point:  -111.°C

Melting Point:  -192.°C

Vapor Pressure:  N/A

Evaporation Rate (BuAc=1):  N/A

Vapor Density (Air=1):  1.7

Solubility in H 2 O % by Weight:  0.49

Appearance and Odor:  Colorless to bluish gas with a characteristic pungent odor.

## 10. Stability and Reactivity

Stability:  Ozone spontaneously decomposes under all ordinary conditions, so that it is not encountered except in the immediate vicinity of where it was formed. The decomposition is speeded by solid surfaces and by many chemical substances.

Hazardous Decomposition Products:  Reactive singlet oxygen. 

Hazardous Polymerization:  Will not occur. 

Incompatibilities:  Ozone is a powerful oxidizing agent and reacts with all oxidizable materials , both organic and inorganic. Some reactions are highly explosive. Alkenes, benzene and other aromatic compounds, rubber, dicyanogen, bromine diethyl ether, dinitrogen tetroxide, nitrogent trichloride, hydrogen bromide, and tetrafluorohydrazine.

Conditions to Avoid:  Incompatibles.

## 11. Toxicological Information

Ozone is extremely irritating to the upper and lower respiratory tract. The characteristic odor is readily detectable at low concentrations ( 0.02 ppm to 0.05 ppm). Ozone produces local irritation of the eyes and mucous membranes and may cause pulmonary edema at high exposure. Systematically, ozone has been reported to mimic the effects of ionizing radiation, and may cause damage to chromosomal structures. A partial tolerance appears to develop with repeated exposures. Although most effects are acute, the possibility of chronic lung impairment should be considered, based upon animal experimentation.

## 12. Ecological Information

Environmental Fate:  No information found. 

Environmental Toxicity:  No information found.

## 13. Disposal Considerations

Do not dispose of ozone off gas to atmosphere without properly designed off gas destruct unit. State and local disposal regulations may differ from federal disposal regulations.

## 14. Transport Information

Proper Shipping Name:   N/A
Hazard Class:   N/A
Identification Number:  N/A
Packing Group:   N/A

## 15. Regulatory Information

SARA TITLE III:   N/A
TSCA:  The ingredients of this product are on the TSCA Inventory List.
OSHA:  Nonhazardous according to definitions of health hazard and physical hazard provided in the Hazard Communication Standard (29 CFR 1910.1200)

## 16. Other Information

Label Hazard Warning: 
HIGHLY REACTIVE. OZONE GAS AFFECTS THE RESPIRATORY SYSTEM. 
Label Precautions: 
Keep away from heat, sparks and flame. Avoid contact with eyes, skin and clothing. Avoid breathing. Use with adequate ventilation. 
Label First Aid: 
If inhaled, remove to fresh air. Get medical attention for any breathing difficulty. 
Product Use: 
Laboratory Reagent. 
Revision Information: 
Pure. New 16 section MSDS format, all sections have been revised.

Disclaimer: 
***************************************************************************** ASI provides the information contained herein in good faith but makes no representation as to its comprehensiveness or accuracy. This document is intended only as a guide to the appropriate precautionary handling of the material by a properly trained person using this product. Individuals receiving the information must exercise their independent judgment in determining its appropriateness for a particular purpose.

ASI MAKES NO REPRESENTATIONS OR WARRANTIES, EITHER EXPRESS OR IMPLIED, INCLUDING WITHOUT LIMITATION ANY WARRANTIES OF MERCHANTABILITY, FITNESS FOR A PARTICULAR PURPOSE WITH RESPECT TO THE INFORMATION SET FORTH HEREIN OR THE PRODUCT TO WHICH THE INFORMATION REFERS. ACCORDINGLY, ASI WILL NOT BE RESPONSIBLE FOR DAMAGES RESULTING FROM USE OF OR RELIANCE UPON THIS INFORMATION. 
*****************************************************************************